## Introduction
Planning water supplies for the farm.
Worksheets to help
● Identify a property's water resources and infrastructure
● Calculate a property's water requirements
Examples are provided to show how to map water supplies and distribution,
list these paddock by paddock and detemine water needs for the whole property.
Click on the tabs below to see the examples and use the worksheets
Funded by the Australian Government’s Smart Farms Small Grants program
Funded by the Australian Government’s Smart Farms Small Grants program

## Farm Audit Worksheet
Water Source
Location
Pumping Equipment
Pressure / head
Water Quality
Comments
Paddock Name | Tanks |  |  | Pipes |  |  | Troughs |  |  | Tanks |  |  | Pipes |  |  | Troughs |  |  | Tanks |  |  | Pipes |  |  | Troughs |  |  | Tanks |  |  | Pipes |  |  | Troughs
| Type | No. | Litres | Type | Diam (mm) | Length (m) | Type | No. | Length (m) | Type | No. | Litres | Type | Diam (mm) | Length (m) | Type | No. | Length (m) | Type | No. | Litres | Type | Diam (mm) | Length (m) | Type | No. | Length (m) | Type | No. | Litres | Type | Diam (mm) | Length (m) | Type | No. | Length (m)
Total |  | 0 | 0 |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 |  | 0
|  | No. | Litres |  |  | Length (m) |  | No. |  |  | No. | Litres |  |  | Length (m) |  | No. |  |  | No. | Litres |  |  | Length (m) |  | No. |  |  | No. | Litres |  |  | Length (m) |  | No.

## Example Farm Audit
Water Source | Bore | [8 empty] | Dam | [8 empty] | Mains | [8 empty] | Rainwater
Location | Windmill paddock | [8 empty] | Dam paddock | [8 empty] | Meter on Hill's Road | [8 empty] | Shed and house roofs
Pumping Equipment | Windmill | [8 empty] | 1 pressure pump | [17 empty] | 1 pressure pump
Pressure / head | 30 m | [8 empty] | 280 kPa | [8 empty] | 200 kPa discharge from meter | [8 empty] | 350 kPa pump; shearing shed tank 10 m head
Water Quality | 2500 ppm | [8 empty] | 300 ppm | [8 empty] | 200 ppm | [8 empty] | 5 ppm
Comments | windmill to be replaced by solar panels and submersible pump | [8 empty] | capacity 600,000 L but rarely full | [8 empty] | considering tank to store water + leak detection unit | [8 empty] | Shearing shed tank fire fighting water
Paddock Name | Tanks |  |  | Pipes |  |  | Troughs |  |  | Tanks |  |  | Pipes |  |  | Troughs |  |  | Tanks |  |  | Pipes |  |  | Troughs |  |  | Tanks |  |  | Pipes |  |  | Troughs
| Type | No. | Litres | Type | Diam (mm) | Length (m) | Type | No. | Length (m) | Type | No. | Litres | Type | Diam (mm) | Length (m) | Type | No. | Length (m) | Type | No. | Litres | Type | Diam (mm) | Length (m) | Type | No. | Length (m) | Type | No. | Litres | Type | Diam (mm) | Length (m) | Type | No. | Length (m)
Stumpy |  |  |  | PN10 | 50 | 250 | poly | 1 | 2.5
Back |  |  |  | PN10 | 50 | 250 | poly | 1 | 2.5
Joe's |  |  |  | PN10 | 50 | 500 | poly | 1 | 2.5
Horse |  |  |  | PN10 | 50 | 50
Windmill | poly | 1 | 31700 | PN10 | 50 | 700
East | [9 empty] | poly | 1 | 22500 | Imp | 1&1/2" | 100 | poly | 1 | 2.5
Misery | [9 empty] | poly | 1 | 22500 | Imp | 1&1/2" | 200 | poly | 1 | 2.5
Dam | [12 empty] | Imp | 1&1/2" | 500 | poly | 1 | 2.5
Block | [21 empty] | PN10 | 50 | 500 | poly | 1 | 2.5
Annie's | [21 empty] | PN10 | 50 | 250 | poly | 1 | 2.5
Gum | [30 empty] | PN10 | 50 | 10 | poly | 1 | 2.5
Ram | [30 empty] | PN10 | 50 | 10 | poly | 1 | 2.5
Shearing Shed | [27 empty] | steel | 1 | 50000 | PN10 | 50 | 250 | poly | 1 | 2.5
Farmyard | [27 empty] | poly | 2 | 58700
Total |  | 1 | 31700 |  |  | 1750 |  | 3 |  |  | 2 | 45000 |  |  | 800 |  | 3 | [6 empty] | 750 |  | 2 |  |  | 3 | 108700 |  |  | 270 |  | 3
|  | No. | Litres |  |  | Length (m) |  | No. |  |  | No. | Litres |  |  | Length (m) |  | No. | [6 empty] | Length (m) |  | No. |  |  | No. | Litres |  |  | Length (m) |  | No.

## Example Farm Mud Map
Example Farm "Mud Map" - layout of water infrastructure

## Calculating water requirements
Calculating Property Water Requirements and Use
Source & Estimated L/day
| Comments, calculations, assumptions | Rainwater | Mains | Dam | Bore
House
bath & shower
laundry
kitchen
toilet
drinking water, other
Surrounds
garden
amenity plantings
birdbaths
pools / ponds
seedlings nursery
Sheds & workshops
Washdown & cleaning
Health & Safety
Firefighting storage
Cropping
Livestock
No. and type
Totals
per water source | Litres / day | 0 | 0 | 0 | 0
| Litres / year | 0 | 0 | 0 | 0
Combined water sources | Litres / day | 0
| Litres / year | 0

## Example calculating requirement
Calculating Property Water Requirements and Use
Source & Estimated L/day
| Comments, calculations, assumptions | Rainwater | Mains | Dam | Bore
House
bath & shower |  | 53
laundry |  | 43
kitchen |  | 29
toilet |  |  |  |  | 29
drinking water, other |  | 5
Surrounds
garden |  | 100
amenity plantings
birdbaths |  | 5
pools / ponds
seedlings nursery |  | 5
Sheds & workshops
Washdown & cleaning |  |  |  |  | 20
Health & Safety | Shearing shed hand washing and toilet | 2
Firefighting storage |  |  |  |  | 41
Cropping
crop spraying | 268 ha sprayed 3 times per year @ 100L/ha |  |  |  | 220
| 32 ha sprayed 3 times per year @ 100L/ha | 110
Livestock
No. and type
400 ewes
- pregnant | DSE 1.4, 62 days dry feed, 90 days high protein stubbles 582000L
- lactating | DSE 2.0 90 days green feed 104400L
- dry | DSE 1.2 93 days green feed, 30 days dry feed 97920L
ewes total year | 784,320L |  |  |  | 2150
100 wethers | DSE 1 180 days dry feed, 185 days green feed 85100L |  |  |  | 233
400 lambs | DSE 1 120 days green feed 60 days dry feed 136800L |  |  |  | 375
5 rams | DSE 1.2 180 days green feed, 30 days hay, 155 days dry feed 6150L |  |  |  | 17
10 steers | 227,500L for year |  |  |  | 623
Totals
per water source | Litres / day | 352 | 0 | 0 | 3708
| Litres / year | 128480 | 0 | 0 | 1353420
All water sources | Litres / day | 4060
| Litres / year | 1481900